## Sheet1
Wilmington Data of 7/27/20923
Alan Holmes
Gain was 4X
Integration time was 100 milliseconds
Measurements captured at 13:30 on Thursday July 27, 2023
74.69 | solar elevation angle in degrees
|  |  |  | Expected | Derived
|  |  |  | Sensor | Sensor
|  |  |  | Irradiance | Calibration
|  |  |  | in | in ADU Per | From
| ADU | ADU | ADU | microwatts | microwatt | Data
| AVERAGE | Shadow | Diff | per cm^2 | per cm^2 | Sheet
F1 415nm | 168.9792 | 14.6042 | 147.4167 | 25.693 | 5.7376 | 56.1 | (at gain of 512X) | (at 4X this would be 119th as much, or 0.47)
F2 445nm | 250.8125 | 19.7708 | 220.5208 | 29.0369 | 7.5945 |  | (and Tint of 100ms)
F3 480nm | 350.625 | 22.6875 | 310.6458 | 47.3759 | 6.557
F4 515nm | 434.5208 | 25.8125 | 384.8958 | 50.1286 | 7.6782
F5 555nm | 459.8333 | 24.9375 | 410.1667 | 50.787 | 8.0762
F6 590nm | 514.25 | 25.7917 | 461.5208 | 51.1823 | 9.0172
F7 630nm | 681.1042 | 30.8333 | 614.4167 | 65.3001 | 9.4091
F8 680nm | 669.6458 | 31.8125 | 607.4583 | 64.613 | 9.4015
NIR | 698.8 | 52.25 | 643.6875 | 82.2164 | 7.8292 | 52 | (at gain of 128x) | (at 4X this would be 30.7th as much, or 1.69)
|  |  |  | (From | (at 4X and 100 ms T-int)
Earlier
Spreadsheet)
ADU means Analog-Digital Unit, basically the counts out of the A/D converter on the chip